## JSON GUI
| Spec Ready | Control ready | DB ready | Json Ready | Tested with tester | Integrated with GUI
Dashboard
Dashboard | No | No | No | No | No | No
Climate
Temp Curve | Yes | Minor changes needed | Minor changes needed | Minor changes needed | No | No | Yes
Min Max | No | No | No | No | No | No | No
Ventilation | No | No | No | No | No | No
Air Quality | Yes | No | No | No | No | No
Cooling | No | No | No | No | No | No
Zone Heaters | Yes | Changes needed | Changes needed | Changes needed | No | No
Static Pressure | Yes | Minor changes needed | Minor changes needed | No | No | No
Control
Sprinkler | Yes | Yes | Yes | Yes | In Progress | No
Timers | Yes | Minor changes needed | Minor changes needed | No | No | No
Aux Alarms | Yes | In Progress | In Progress | No | No | No
Batch
History | No | No | No | No | No | No
Animal Weight | No | No | No | No | No | No
Mortality | No | No | No | No | No | No
Group Settings | No | No | No | No | No | No
System
Temp Definitions | No | No | No | No | No | No
Ventilation Settings | No | No | No | No | No | No
Instalation | No | No | No | No | No | No
General settings | No | No | No | No | No | No
Others
Alarms | No |  | No | No | No | No
Cold start | No |  | No | No | No | No

## JSON Data Elements
| Priority | Json Read | Json Write | Multi Zone support | Notes
General
General Settings (SGConfig) | 1 | Implemented | Implemented | Single Zone
About | 3 | Implemented | Not Supported | Single Zone
Instalation | [5 empty] | Not Supported
Relay Layout | 1 | Not Supported | Not Supported | Single Zone |  | Implemented
Analog Output Layout | 1 | Not Supported | Not Supported | Single Zone |  | Tested
Analog Sensors Layout | 1 | Not Supported | Not Supported | Single Zone
Pressure Layout | 1 | Implemented | Not Supported | Single Zone
Digital Input Layout | 1 | Not Supported | Not Supported | Single Zone
Scale Layout | 5 | Not Supported | Not Supported | Single Zone
Temperature Definition | 2 | Implemented | Not Supported | Multi Zone | In progress | ?????
InletCurtainSetup | 1 | Implemented | Not Supported | Multi Zone |  | Multi Zone
Fan Air Capacity | 3 | Implemented | Not Supported | Multi Zone |  | Single Zone
Calibration
CalibrationTempHum | 3 | Not Supported | Not Supported | Multi Zone | Multi or Single Zone ?
CalibrationPressure | 3 | Not Supported | Not Supported | Multi Zone | Multi or Single Zone ?
CalibrationWater | 3 | Not Supported | Not Supported | Multi Zone | Multi or Single Zone ?
CalibrationInlet | 3 | Not Supported | Not Supported | Multi Zone | Cannot open the menu
Levels
VentilationLevelsFullTable + Set | 1 | Implemented | Implemented | Multi Zone
CurtainLevels + Set | 1 | Implemented | Not Supported | Multi Zone
DashBoard and More
DashBoard | 2 | Implemented | Not Supported | Multi Zone | In progress
Switches changed | 4 | Not Supported | Not Supported | Multi Zone
Control
TempCurve + Set | 1 | Tested | Implemented | Multi Zone
Min Max Levels + Set | 2 | Tested | Implemented | Multi Zone
Humidity | 3 | Implemented | Implemented | Multi Zone
StaticPressure | 2 | Implemented | Implemented | Multi Zone
Heaters | 1 | Implemented | Implemented | Multi Zone
Cooling | 1 | Implemented | Implemented | Multi Zone
Timers | 3 | Implemented | Implemented | Multi Zone
Sprinklers | 2 | Not Supported | Not Supported | Multi Zone
Management
AlarmReset | 3 | Implemented | Not Supported | Multi Zone
AlarmsSettings | 4 | Implemented | Not Supported | ????? | Multi or Single Zone ?
GroupSettings | 2 | Implemented | Not Supported | Multi Zone
Animal Weight | 4 | Implemented | Not Supported | ????? | Multi or Single Zone ?
Current Sensor | 2 | Implemented | Not Supported | Single Zone
Active Alarms | 1 | Implemented | Not Supported | Multi Zone
History
HistoryTemperature | 4 | Not Supported | Not Supported | Multi Zone
HistoryHumidity | 4 | Not Supported | Not Supported | Multi Zone
HistoryHeaters | 4 | Not Supported | Not Supported | Multi Zone
HistoryWater | 4 | Not Supported | Not Supported | Multi Zone
HistoryEvents | 4 | Not Supported | Not Supported | Multi Zone
HistoryAlarms | 4 | Not Supported | Not Supported | Multi Zone
HotKeys
HumidityHotKey | 5 | Not Supported | Not Supported | Multi Zone
Temperature Definition Hot Key | 2 | Not Supported | Not Supported | Multi Zone
ByWeightHotKey | 5 | Not Supported | Not Supported | Multi Zone
Others
Box DE | 4 | Not Supported | Not Supported | Single Zone | ?????
SlaveInfo | ?? | NOT RELEVANT | NOT RELEVANT | Single Zone | ?????
SystemCards | ?? | NOT RELEVANT | NOT RELEVANT | Single Zone | ?????
Pause Control | ?? | NOT RELEVANT | NOT RELEVANT |  | ?? To be removed ???
Ping | FF | NOT RELEVANT | NOT RELEVANT |  | to be removed
RNPDeviceProt | FF | NOT RELEVANT | NOT RELEVANT |  | to be removed
Net Alarm | FF | NOT RELEVANT | NOT RELEVANT | ????? | to be removed

## Common
Not Implemented
Implemented
Tested
?????
Multi Zone
Single Zone